## Front & Preliminaries
|  |  |  | SPECIFICATION | August
|  |  |  | S-711D | 2021
Procurement Data Sheet for
Diesel Engines
Revision history
| VERSION | DATE | PURPOSE
| 1 | August 2021 | Issued for Use
Acknowledgements
This IOGP Specification was prepared by a Joint Industry Programme 33
Standardization of Equipment Specifications for Procurement organized
by IOGP with support by the World Economic Forum (WEF).
Disclaimer
Whilst every effort has been made to ensure the accuracy of the information
contained in this publication, neither IOGP nor any of its Members past present or
future warrants its accuracy or will, regardless of its or their negligence, assume
liability for any foreseeable or unforeseeable use made thereof, which liability is
hereby excluded. Consequently, such use is at the recipient’s own risk on the basis
that any use by the recipient constitutes agreement to the terms of this disclaimer.
The recipient is obliged to inform any subsequent recipient of such terms.
Please note that this publication is provided for informational purposes and
adoption of any of its recommendations is at the discretion of the user. Except as
explicitly stated otherwise, this publication must not be considered as a substitute
for government policies or decisions or reference to the relevant legislation relating
to information contained in it.
Where the publication contains a statement that it is to be used as an industry
standard, IOGP and its Members past, present, and future expressly disclaim all
liability in respect of all claims, losses or damages arising from the use or
application of the information contained in this publication in any industrial application.
Any reference to third party names is for appropriate acknowledgement of their
ownership and does not constitute a sponsorship or endorsement.
Copyright notice
The contents of these pages are © International Association of Oil & Gas Producers.
Permission is given to reproduce this report in whole or in part provided (i)
that the copyright of IOGP and (ii) the sources are acknowledged. All other rights are
reserved. Any other use requires the prior written permission of IOGP.
These Terms and Conditions shall be governed by and construed in accordance
with the laws of England and Wales. Disputes arising here from shall be exclusively
subject to the jurisdiction of the courts of England and Wales.
S-711D Data Sheet for
Diesel Engines
Foreword
This specification was prepared under Joint Industry Programme 33 (JIP33) "Standardization of Equipment Specifications for Procurement" organized by the International Oil & Gas Producers Association (IOGP) with the support from the World Economic Forum (WEF). Companies from the IOGP membership participated in developing this specification to leverage and improve industry level standardization globally in the oil and gas sector. The work has developed a minimized set of supplementary requirements for procurement, with life cycle cost in mind, resulting in a common and jointly agreed specification, building on recognized industry and international standards.
Recent trends in oil and gas projects have demonstrated substantial budget and schedule overruns. The Oil and Gas Community within the World Economic Forum (WEF) has implemented a Capital Project Complexity (CPC) initiative which seeks to drive a structural reduction in upstream project costs with a focus on industry-wide, non-competitive collaboration and standardization. The CPC vision is to standardize specifications for global procurement for equipment and packages. JIP33 provides the oil and gas sector with the opportunity to move from internally to externally focused standardization initiatives and provide step change benefits in the sector's capital projects performance.
This specification has been developed in consultation with a broad user and supplier base to realize benefits from standardization and achieve significant project and schedule cost reductions.
The JIP33 work groups performed their activities in accordance with IOGP's Competition Law Guidelines (November 2020).
S-711D Data Sheet for
Diesel Engines
Introduction
The purpose of this procurement data sheet is to define purchaser specific requirements for the procurement of diesel engines in accordance with IOGP S-711 for application in the petroleum and natural gas industries. The procurement data sheet provides project specific requirements where the specification requires the purchaser to define an application specific requirement. It also includes information required by the purchaser for technical evaluation purposes. Additional purchaser supplied documents can be listed in the procurement data sheet to define scope and technical requirements for enquiry and purchase of the equipment.
This procurement data sheet shall be used in conjunction with the specification (IOGP S-711), information requirements specification (IOGP S-711L) and quality requirements specification (IOGP S-711Q) which together comprise the full set of specification documents. The introduction section in the specification provides further information on the purpose of each of these documents and the order of precedence for their use.
JIP33 Specification for Procurement Documents Procurement Data Sheet

## Procurement Data Sheet
Row | S-711D Procurement Data Sheet for Diesel Engines | [6 empty] | Issue
2 | Ref. Clause | Description | Purchaser requirement | Purchaser requirement UOM | Supplier offered value | Supplier offered UOM | Additional notes |  | Requirement CFIHOS ID | Equipment CFIHOS ID
3 |  | Purchase order information
4 |  | Data sheet status : | select |  | select | [5 empty] | select | for enquiry | for purchase
5 |  | Purchaser name : | input data |  | input data
6 |  | Purchaser reference number : | input data |  | input data
7 |  | Purchase order number : | input data |  | input data
8 |  | Purchase order date : | input data |  | input data
9 |  | Project owner : | input data |  | input data
10 |  | Project name : | input data |  | input data
11 |  | Project number : | input data |  | input data
12 |  | Project country : | input data |  | input data
13 |  | Site location : | input data |  | input data
14 |  | Project region : | input data |  | input data
15 |  | Supplier name : | input data |  | input data
16 |  | Supplier reference number : | input data |  | input data
17 |  | Conformity assessment system (CAS) level : | D |  | D | [5 empty] | select | A | B | C | D
18 |  | General equipment information
19 |  | Tag number : | input data |  | input data
20 |  | Service : | input data |  | input data
21 |  | Units of measurement : | select |  | select | [5 empty] | select | SI | U.S. customary
22 |  | Plant environmental location : | select |  | select | [5 empty] | select | offshore | marine coastal | onshore
23 |  | Unit location : | input data |  | input data
24 |  | Number required : | input data |  | input data
25 |  | Engine manufacturer : | input data |  | input data
26 |  | Model : | input data |  | input data
27 |  | Serial number : | input data |  | input data
28 |  | Site conditions
29 |  | Diesel engine location : | select |  | select | [5 empty] | select | outdoor | outdoor - under roof | outdoor - roof/partial sides | indoor - acoustic enclosure | indoor - containerized | indoor - engine room mechanically ventilated
30 |  | Elevation : | input data | select | input data | select |  |  |  |  | select | m | ft
31 |  | Site rated temperature : | input data | select | input data | select |  |  |  |  | select | °C | °F
32 |  | Maximum ambient temperature : | input data | select | input data | select |  |  |  |  | select | °C | °F
33 |  | Minimum ambient temperature : | input data | select | input data | select |  |  |  |  | select | °C | °F
34 |  | Engine room maximum temperature : | input data | select | input data | select |  |  |  |  | select | °C | °F
35 |  | Engine room minimum temperature : | input data | select | input data | select |  |  |  |  | select | °C | °F
36 |  | Relative humidity at maximum ambient temperature​ : | input data | % | input data | %
37 |  | Seismic zone : | select |  | select | [5 empty] | select | zone 1 | zone 2 | zone 3 | zone 4 | zone 5 | not applicable
38 |  | Special weather protection : | select |  | select | [5 empty] | select | tropicalization | winterization | not required
39 |  | Design wind velocity : | input data | select | input data | select |  |  |  |  | select | m/s | ft/s
40 |  | Snow load : | input data | select | input data | select |  |  |  |  | select | kg/m² | lb/ft²
41 |  | Unusual conditions : | select |  | select | [5 empty] | select | dust | fume | dust and fume | corrosive agents | not applicable
42 |  | Dust load : | input data | select | input data | select |  |  |  |  | select | kg/Nm³/h | lb/cfm/hr
43 | 6.2, 6.3, 6.4 | Atmospheric corrosivity : | select |  | select | [5 empty] | select | medium corrosivity (C3) | high corrosivity (C4) | very high corrosivity (C5) | extreme corrosivity (CX)
44 | 5.6.8 | Attended operation : | select |  | select | [5 empty] | select | attended | unattended
45 | 5.2.1.2, 5.6.8, 5.8.3.2 | Safety critical service : | select |  | select | [5 empty] | select | yes | no
46 |  | Marine classification : | input data |  | input data
47 |  | Maximum roll inclination angle in operation : | input data | degrees | input data | degrees
48 |  | Maximum pitch inclination angle in operation : | input data | degrees | input data | degrees
49 |  | Maximum yaw inclination angle in operation : | input data | degrees | input data | degrees
50 |  | Explosive atmospheres
51 | 5.12.1 | Hazardous area certification standard : | select |  | select | [5 empty] | select | IEC 60079 | NFPA 70 Art. 500 | NFPA 70 Art. 505
52 |  | IEC 60079 / NFPA 70, 505
53 | 5.12.1 | Explosion hazard classification : | select |  | select | [5 empty] | select | non-hazardous | zone 2 | zone 1
54 |  | Explosion group : | select |  | select | [5 empty] | select | IIA | IIB | IIC
55 | 5.12.2 | Temperature class : | select |  | select | [5 empty] | select | T1 | T2 | T3 | T4 | T5 | T6
56 |  | NFPA 70, 500
57 | 5.12.1 | Explosion hazard classification : | select |  | select | [5 empty] | select | non-hazardous | division 2 | division 1
58 |  | Explosion group : | select |  | select | [5 empty] | select | Class I Group A | Class I Group B | Class I Group C | Class I Group D
59 | 5.12.2 | Temperature class : | select |  | select | [5 empty] | select | T1 | T2 | T2A | T2B | T2C | T2D | T3 | T3A | T3B | T3C | T4 | T4A | T5 | T6
60 |  | Utility data
61 |  | Electricity
62 |  | Frequency : | select | Hz | select | Hz |  |  |  |  | select | 50 | 60
63 |  | Motor voltage : | input data | V | input data | V
64 |  | Motor phase : | select |  | select | [5 empty] | select | 3 phase | 1 phase
65 |  | Heater voltage : | input data | V | input data | V
66 |  | Heater phase : | select |  | select | [5 empty] | select | 3 phase | 1 phase
67 |  | Control voltage : | input data | V | input data | V
68 |  | Control phase : | select |  | select | [5 empty] | select | 3 phase | 1 phase
69 |  | Air
70 |  | Maximum inlet pressure : | input data | select | input data | select |  |  |  |  | select | kPa (ga) | psig
71 |  | Minimum inlet pressure : | input data | select | input data | select |  |  |  |  | select | kPa (ga) | psig
72 |  | External cooling supply
73 |  | Supply pressure : | input data | select | input data | select |  |  |  |  | select | kPa (ga) | psig
74 |  | Maximum return pressure : | input data | select | input data | select |  |  |  |  | select | kPa (ga) | psig
75 |  | Supply temperature : | input data | select | input data | select |  |  |  |  | select | °C | °F
76 |  | Return temperature : | input data | select | input data | select |  |  |  |  | select | °C | °F
77 |  | Design temperature : | input data | select | input data | select |  |  |  |  | select | °C | °F
78 |  | Design pressure : | input data | select | input data | select |  |  |  |  | select | kPa (ga) | psig
79 |  | Water source : | input data |  | input data
80 |  | Fouling factor : | input data | select | input data | select |  |  |  |  | select | m²·K/W | h·ft²·°F/Btu
81 |  | Engine design data
82 |  | Site brake power required : | input data | select | input data | select |  |  |  |  | select | kW | hp
83 |  | ISO Standard Power : | input data | select | input data | select |  |  |  |  | select | kW | hp
84 |  | ISO rated speed : | input data | r/min | input data | r/min
85 |  | Site rated brake power : | input data | select | input data | select |  |  |  |  | select | kW | hp
86 |  | Rated speed : | input data | r/min | input data | r/min
87 |  | Power rating type : | select |  | select | [5 empty] | select | prime power (PRP) | continuous power (COP) | limited-time running power (LTP) | emergency standby power (ESP) | data centre power (DSP) | stand-by power | maximum continuous rating (MCR)
88 |  | Duty : | select |  | select | [5 empty] | select | continuous | intermittent | standby
89 |  | Brake torque : | input data | select | input data | select |  |  |  |  | select | N·m | lbf·ft
90 |  | Maximum time from start up to rated speed : | input data | s | input data | s
91 |  | Brake specific fuel consumption (BSFC) at 50 % load : | input data | select | input data | select |  |  |  |  | select | g/kW·h | lb/hp·h
92 |  | Brake specific fuel consumption (BSFC) at 75 % load : | input data | select | input data | select |  |  |  |  | select | g/kW·h | lb/hp·h
93 |  | Brake specific fuel consumption (BSFC) at 100 % load : | input data | select | input data | select |  |  |  |  | select | g/kW·h | lb/hp·h
94 |  | Intake air flow : | input data | select | input data | select |  |  |  |  | select | m³/hr | cfm
95 |  | Exhaust manifold temperature : | input data | select | input data | select |  |  |  |  | select | °C | °F
96 |  | Exhaust gas temperature : | input data | select | input data | select |  |  |  |  | select | °C | °F
97 |  | Exhaust gas flow : | input data | select | input data | select |  |  |  |  | select | kg/h | lb/h
98 |  | Heat rejection to atmosphere : | input data | select | input data | select |  |  |  |  | select | kW | Btu/min
99 |  | Equipment sound pressure level limit for normal operating conditions, Lp at 1 m : | input data | dBA | input data | dBA
100 |  | Maximum equipment sound pressure level for normal operation without noise control measures, Lp at 1 m : | input data | dBA | input data | dBA
101 |  | Maximum equipment sound pressure level for normal operation with noise control measures implemented, Lp at 1 m : | input data | dBA | input data | dBA
102 |  | Engine construction
103 |  | Cylinder arrangement : | select |  | select | [5 empty] | select | V | in-line | other
104 |  | Type of aspiration : | select |  | select | [5 empty] | select | naturally aspirated | super-charged | turbo-charged
105 |  | Number of cylinders : | input data |  | input data
106 |  | Cylinder bore : | input data | select | input data | select |  |  |  |  | select | mm | in
107 |  | Cylinder stroke : | input data | select | input data | select |  |  |  |  | select | mm | in
108 |  | Cylinder liner required : | select |  | select | [5 empty] | select | required | not required
109 |  | Number of piston rings : | input data |  | input data
110 |  | Type of barring device : | manual |  | manual | [5 empty] | select | manual | pneumatic | electric
111 | 5.1.1 | Direction of rotation from drive end : | select |  | select | [5 empty] | select | clockwise (CW) | counterclockwise (CCW)
112 | 5.1.2.2 | Crankcase breather spark arrestor : | select |  | select | [5 empty] | select | required | not required
113 | 5.1.2.1 | Mist eliminator : | select |  | select | [5 empty] | select | required | not required
114 | 5.12.5 | Crankcase explosion relief valve : | select |  | select | [5 empty] | select | required | not required
115 |  | Explosion relief device flame arrestor : | select |  | select | [5 empty] | select | required | not required
116 |  | Engine starting system
117 | 5.2.1.1, 5.2.1.2 | Type of primary starting system : | select |  | select | [5 empty] | select | electric | pneumatic | hydraulic
118 | 5.2.1.3 | Type of secondary starting system : | select |  | select | [5 empty] | select | electric | pneumatic | hydraulic | not applicable
119 |  | Start-up time to rated speed : | input data | s | input data | s
120 |  | Electric starting
121 |  | Starter motor
122 |  | Rated voltage : | select |  | select | [5 empty] | select | 24 V DC | other
123 |  | Battery
124 | 5.2.1.2 | Number of battery sets : | select |  | select | [5 empty] | select | one | two
125 |  | Battery type : | input data |  | input data
126 |  | Battery capacity per set : | input data | Ah | input data | Ah
127 |  | Battery Isolator : | select |  | select | [5 empty] | select | required | not required
128 |  | Monitoring and protection : | input data |  | input data
129 |  | Charging source : | select |  | select | [5 empty] | select | battery charger | alternator | battery charger and alternator
130 |  | Battery isolation breaker with remote trip feature installed in pad-lockable enclosure : | select |  | select | [5 empty] | select | required | not required
131 | 5.2.2.1 | Battery compartment or tray : | select |  | select | [5 empty] | select | battery compartment | battery tray | not required
132 |  | Battery charger
133 |  | Type of charger : | select |  | select | [5 empty] | select | constant voltage float charger | manual boost charger
134 |  | Charging capacity : | input data | Ah | input data | Ah
135 |  | Output circuit breaker poles : | select |  | select | [5 empty] | select | two poles | manufacturer standard
136 |  | Temperature compensation : | select |  | select | [5 empty] | select | required | not required
137 |  | Pneumatic starting
138 |  | Starting medium : | select |  | select | [5 empty] | select | air | hydrocarbon gas | other
139 |  | Pneumatic system type : | select |  | select | [5 empty] | select | pneumatic starter motor | direct injection
140 |  | Pneumatic source : | select |  | select | [5 empty] | select | starting air compressor | customer utility system | customer process gas | bottle rack
141 |  | Minimum starting pressure : | input data | select | input data | select |  |  |  |  | select | kPa (ga) | psig
142 |  | Starting flow : | input data | select | input data | select |  |  |  |  | select | m³/h | cfm
143 |  | Starting air compressor
144 |  | Supplied by : | select |  | select | [5 empty] | select | purchaser | supplier
145 |  | Air vessel recharge time : | input data | min | input data | min
146 |  | Air vessel
147 |  | Design standard : | select |  | select | [5 empty] | select | ASME Section VIII | EN 13445 | other
148 |  | ASME code stamp : | not required |  | not required | [5 empty] | select | required | not required
149 |  | PED Compliant : | select |  | select | [5 empty] | select | yes | no
150 |  | Air vessel capacity : | input data | select | input data | select |  |  |  |  | select | m³ | ft³
151 |  | Operating pressure : | input data | select | input data | select |  |  |  |  | select | kPa (ga) | psig
152 |  | Design pressure : | input data | select | input data | select |  |  |  |  | select | kPa (ga) | psig
153 |  | Hydraulic starting
154 | 5.2.4.2 | Manual charge pump : | select |  | select | [5 empty] | select | required | not required
155 |  | Hydraulic accumulator
156 |  | Design standard : | select |  | select | [5 empty] | select | ASME Section VIII | EN 13445 | other
157 |  | Certification : | select |  | select | [5 empty] | select | PED | ASME code stamp | other
158 |  | Air inlet system
159 |  | Main air filter
160 | 5.3.1.2 | Main air filter type : | select |  | select | [5 empty] | select | dry media filter | oil-bath filter | pulse-jet filter | cyclonic separator | other
161 |  | Main air filter manufacturer : | input data |  | input data
162 |  | Mounting : | select |  | select | [5 empty] | select | engine-mounted | remote-mounted
163 |  | Weatherhood : | select |  | select | [5 empty] | select | required | not required
164 |  | Filter housing material : | input data |  | input data
165 |  | Particle rating : | input data | microns | input data | microns
166 |  | Particle efficiency : | input data | % | input data | %
167 | 5.3.1.3 | Differential pressure gauge : | select |  | select | [5 empty] | select | required | not required
168 | 5.3.1.3 | Differential pressure transmitter : | select |  | select | [5 empty] | select | required | not required
169 |  | Max allowable pressure drop : | input data | select | input data | select |  |  |  |  | select | kPa | psi
170 |  | Engine elevation above grade level : | input data | select | input data | select |  |  |  |  | select | m | ft
171 |  | Air filter elevation above grade level : | input data | select | input data | select |  |  |  |  | select | m | ft
172 |  | Pre-filter
173 |  | Pre-filter : | select |  | select | [5 empty] | select | required | not required
174 |  | Pre-filter type : | input data |  | input data
175 | 5.3.1.1 | Particle rating : | input data | microns | input data | microns
176 | 5.3.1.1 | Particle efficiency : | input data | % | input data | %
177 |  | Coalescer : | select |  | select | [5 empty] | select | required | not required
178 |  | Anti-frost protection : | select |  | select | [5 empty] | select | required | not required
179 |  | Anti-frost protection type : | select |  | select | [5 empty] | select | heat tracing | insulation
180 |  | Air-Inlet shut off valve
181 |  | Air-inlet shut-off valve : | select |  | select | [5 empty] | select | required | not required
182 |  | Air-inlet shut-off valve quantity : | select |  | select | [5 empty] | select | two | other
183 |  | Air-inlet shut-off valve material : | input data |  | input data
184 |  | Intake air silencer
185 |  | Intake air silencer : | select |  | select | [5 empty] | select | required | not required
186 |  | Silencer material : | input data |  | input data
187 |  | Air inlet duct
188 |  | Air inlet duct : | select |  | select | [5 empty] | select | required | not required
189 |  | Air inlet duct supplied by : | select |  | select | [5 empty] | select | purchaser | supplier
190 |  | Air inlet adaptor : | select |  | select | [5 empty] | select | required | not required
191 |  | Air inlet duct material : | input data |  | input data
192 | 5.3.1.5 | Air inlet expansion bellow supplied by : | select |  | select | [5 empty] | select | engine vendor | package supplier
193 |  | Exhaust system
194 |  | Exhaust duct : | select |  | select | [5 empty] | select | purchaser | supplier
195 |  | Exhaust duct material : | input data |  | input data
196 | 5.3.2.3 | Expansion bellow material : | input data |  | input data
197 | 5.3.2.3 | Maximum exhaust backpressure : | input data | mm H₂O | input data | mm H₂O
198 |  | Exhaust manifold surface temperature control : | select |  | select | [5 empty] | select | water cooled | air shielded | insulation | not required
199 |  | Exhaust flame arrestor : | select |  | select | [5 empty] | select | required | not required
200 | 5.12.7, 5.3.2.1 | Spark arrestor : | select |  | select | [5 empty] | select | required | not required
201 |  | Spark arrestor type : | input data |  | input data
202 |  | Silencer material : | input data |  | input data
203 |  | Engine fuel system
204 |  | Type of fuel system : | select |  | select | [5 empty] | select | standard | common rail
205 |  | Fuel specification : | select |  | select | [5 empty] | select | ASTM D975 Grade 2D | BS 2869 Class A2 | DIN 51601 | other
206 |  | Fuel heating value - LHV : | input data | select | input data | select |  |  |  |  | select | kJ/kg | Btu/lb
207 |  | Fuel pump
208 |  | Driver type : | select |  | select | [5 empty] | select | engine-shaft | electric motor | pneumatic
209 |  | Capacity : | input data | select | input data | select |  |  |  |  | select | m³/h | cfm
210 |  | Discharge pressure : | input data | select | input data | select |  |  |  |  | select | kPa (ga) | psig
211 |  | Fuel priming pump : | select |  | select | [5 empty] | select | required | not required
212 |  | Fuel priming pump driver type : | select |  | select | [5 empty] | select | manual | electric | pneumatic
213 |  | Fuel filter
214 |  | Main fuel filter
215 |  | Absolute particle rating : | input data | microns | input data | microns
216 |  | Nominal particle rating : | input data | microns | input data | microns
217 |  | Filter housing material : | input data |  | input data
218 |  | Filter elements material : | input data |  | input data
219 |  | Differential pressure transmitter : | select |  | select | [5 empty] | select | required | not required
220 |  | Fuel pre-filter
221 |  | Fuel pre-filter type : | select |  | select | [5 empty] | select | cartridge | coalescing | centrifuge
222 |  | Absolute particle rating : | input data | microns | input data | microns
223 |  | Nominal particle rating : | input data | microns | input data | microns
224 |  | Water separator : | select |  | select | [5 empty] | select | required | not required
225 |  | Separator drain type : | select |  | select | [5 empty] | select | automatic | manual
226 |  | Filter housing material : | input data |  | input data
227 |  | Filter elements material : | input data |  | input data
228 |  | Differential pressure transmitter : | select |  | select | [5 empty] | select | required | not required
229 |  | Day fuel tank
230 |  | Working capacity : | input data | select | input data | select |  |  |  |  | select | l | gal
231 |  | Running time at 100% load : | input data | h | input data | h
232 |  | Day fuel tank material : | select |  | select | [5 empty] | select | 316 stainless steel | carbon steel | other
233 |  | Engine lube system
234 |  | Main lube oil pump
235 | 5.2.4.1 | Drive type : | select |  | select | [5 empty] | select | engine shaft | electric motor
236 |  | Pre-lube oil pump
237 |  | Pre-lube pump required : | select |  | select | [5 empty] | select | required | not required
238 |  | Driver type : | select |  | select | [5 empty] | select | electric | pneumatic
239 |  | Lube oil filter
240 |  | Absolute particle rating : | input data | microns | input data | microns
241 |  | Nominal particle rating : | input data | microns | input data | microns
242 |  | Filter housing material : | input data |  | input data
243 |  | Filter elements material : | input data |  | input data
244 |  | Differential pressure transmitter : | select |  | select | [5 empty] | select | required | not required
245 |  | Bypass relief valve : | select |  | select | [5 empty] | select | required | not required
246 |  | Lube oil cooler
247 |  | Heat exchanger type : | select |  | select | [5 empty] | select | shell and tube | plate and frame | air-cooled | brazed plate | manufacturer's standard
248 |  | Cooling medium : | select |  | select | [5 empty] | select | jacket water | external cooling medium | air-cooled
249 |  | Design standard : | select |  | select | [5 empty] | select | TEMA-C | manufacturer's standard
250 |  | Shell material : | input data |  | input data
251 |  | Tube material : | input data |  | input data
252 |  | Channel material : | input data |  | input data
253 |  | Plate material : | input data |  | input data
254 |  | Lube oil heater
255 |  | Lube oil heater : | select |  | select | [5 empty] | select | required | not required
256 |  | Combined with jacket water heater : | select |  | select | [5 empty] | select | required | not required
257 |  | Lube oil sump
258 |  | Type of sump : | select |  | select | [5 empty] | select | dry | wet
259 |  | Level Indicator : | select |  | select | [5 empty] | select | lube oil dipstick | level gauge
260 |  | Level transmitter : | select |  | select | [5 empty] | select | required | not required
261 |  | Oil sampling connections : | select |  | select | [5 empty] | select | required | not required
262 |  | Lube oil sump material : | input data |  | input data
263 |  | Lube oil grade : | input data |  | input data
264 |  | Engine cooling system
265 |  | Type of cooling
266 |  | Jacket cooling : | select |  | select | [5 empty] | select | water | air
267 |  | Charge-air cooling : | select |  | select | [5 empty] | select | water | air
268 |  | Lube oil cooling : | select |  | select | [5 empty] | select | water | air
269 |  | Turbocharger cooling : | select |  | select | [5 empty] | select | water | air | not applicable
270 |  | Cooling water circuit : | select |  | select | [5 empty] | select | separate low temperature / high temperature | combined
271 |  | Engine coolant cooler
272 |  | Type of cooler : | select |  | select | [5 empty] | select | radiator | external air-cooler | watercooled heat exchanger
273 |  | Radiator / external air cooler
274 | 5.6.1 | Normal heat duty : | input data | select | input data | select |  |  |  |  | select | kW | Btu/min
275 |  | Design heat duty : | input data | select | input data | select |  |  |  |  | select | kW | Btu/min
276 | 5.6.4 | Drive type : | select |  | select | [5 empty] | select | shaft driven | electric motor
277 | 5.6.3 | Drive arrangement : | select |  | select | [5 empty] | select | direct coupling | V-belt drive | toothed belt drive
278 |  | Motor rating : | input data | select | input data | select |  |  |  |  | select | kW | hp
279 |  | Shell material : | input data |  | input data
280 |  | Header box material : | input data |  | input data
281 |  | Tube material : | input data |  | input data
282 | 5.12.4 | Fan blade material : | input data |  | input data
283 | 5.6.8 | Level transmitter for expansion tank : | select |  | select | [5 empty] | select | required | not required
284 |  | Main Cooling Water Exchanger
285 | 5.6.1, 5.6.2 | Normal heat duty : | input data | select | input data | select |  |  |  |  | select | kW | Btu/min
286 |  | Design heat duty : | input data | select | input data | select |  |  |  |  | select | kW | Btu/min
287 | 5.5.2 | Main cooling water exchanger type : | select |  | select | [5 empty] | select | plate and frame | shell and tube | other
288 |  | Shell material : | input data |  | input data
289 |  | Channel material : | input data |  | input data
290 |  | Tube material : | input data |  | input data
291 |  | Plate material : | input data |  | input data
292 |  | External cooling water supply flow : | input data | select | input data | select |  |  |  |  | select | m³/h | gpm
293 |  | Engine package coolers
294 |  | Fuel cooler
295 |  | Fuel cooler : | select |  | select | [5 empty] | select | required | not required
296 |  | Cooler type : | select |  | select | [5 empty] | select | plate and frame | shell and tube | air-cooled
297 |  | Cooler material : | input data |  | input data
298 |  | Exhaust purge cooler
299 |  | Exhaust purge cooler : | select |  | select | [5 empty] | select | required | not required
300 |  | Exhaust purge cooler type : | select |  | select | [5 empty] | select | plate and frame | shell and tube | air-cooled
301 |  | Exhaust purge cooler material : | input data |  | input data
302 |  | High temperature or combined cooling water pump
303 |  | Cooling water pump drive : | select |  | select | [5 empty] | select | engine shaft driven | electric motor
304 |  | Low temperature cooling water pump
305 |  | Cooling water pump drive : | select |  | select | [5 empty] | select | engine shaft driven | electric motor
306 |  | Jacket water heater
307 |  | Jacket water heater : | select |  | select | [5 empty] | select | required | not required
308 |  | Speed governor
309 | 5.9 | Speed governor type : | select |  | select | [5 empty] | select | electronic | mechanical
310 |  | Type of control : | select |  | select | [5 empty] | select | constant speed | variable speed
311 |  | Minimum speed : | input data | r/min | input data | r/min
312 |  | Maximum speed : | input data | r/min | input data | r/min
313 | 5.9 | Accuracy class : | select |  | select | [5 empty] | select | M1 | M2 | M3 | M4
314 | 5.9 | Steady state speed band : | input data | % | input data | %
315 |  | Tachometer type : | select |  | select | [5 empty] | select | mechanical | electrical | other
316 |  | Overspeed protection
317 | 5.8.2.1, 5.8.2.2 | Overspeed protection type : | select |  | select | [5 empty] | select | mechanical | electronic
318 | 5.8.2.3, 7.2.2 | Overspeed trip setting : | input data | r/min | input data | r/min
319 |  | Adjustment range : | input data | % | input data | %
320 |  | Response time : | input data | ms | input data | ms
321 |  | Baseplate
322 |  | Baseplate mounting : | select |  | select | [5 empty] | select | multi-point | three-point | concrete plinth
323 |  | Engine resilient mounts : | select |  | select | [5 empty] | select | under engine | under sub-baseplate | under main baseplate | not required
324 |  | Three-point mount anti-vibration mounts provided by : | select |  | select | [5 empty] | select | supplier | purchaser
325 |  | Suitable for epoxy grout : | select |  | select | [5 empty] | select | not required | full baseplate | under feet
326 |  | Coupling
327 | 5.10.1 | Coupling type : | select |  | select | [5 empty] | select | torsional resilient | torsional dampening | other
328 | 5.10.2 | Service factor : | input data |  | input data
329 |  | Rating : | input data | select | input data | select |  |  |  |  | select | kW | hp
330 |  | Instrumentation and control
331 |  | Instrumentation
332 |  | Instrument ingress protection : | input data |  | input data
333 |  | Transmitter output : | select |  | select | [5 empty] | select | 4-20 mA | 4-20 mA HART | other
334 |  | Explosion protection type : | select |  | select | [5 empty] | select | Ex-d | Ex-i | other
335 |  | Instrument communication protocol : | select |  | select | [5 empty] | select | HART | Foundation Fieldbus | Profibus
336 |  | Engine control panel
337 |  | Panel enclosure ingress protection : | input data |  | input data
338 |  | Weatherhood : | select |  | select | [5 empty] | select | required | not required
339 |  | Explosion protection type : | select |  | select | [5 empty] | select | safe area | Ex-d | purged
340 | 5.8.1.2 | Communication protocol : | select |  | select | [5 empty] | select | RS-485(MODBUS RTU) | MODBUS TCP-IP | Profibus DP | other
341 |  | Purge type : | select |  | select | [5 empty] | select | Ex px | Ex py | Ex pz | X | Y | Z
342 |  | Miscellaneous
343 |  | Accelerometer in engine block provided front end : | select |  | select | [5 empty] | select | required | not required
344 |  | Accelerometer in engine block provided rear end : | select |  | select | [5 empty] | select | required | not required
345 |  | Accelerometer quantity front end : | input data |  | input data
346 |  | Accelerometer quantity rear end : | input data |  | input data
347 |  | Local gauge board : | select |  | select | [5 empty] | select | required | not required
348 |  | Engine Test Mode : | select |  | select | [5 empty] | select | yes | no
349 |  | Inspection and testing
350 |  | Shop inspection : | select |  | select | [5 empty] | select | required | not required
351 |  | Overspeed test : | select |  | select | [5 empty] | select | required | not required
352 |  | Mechanical run test : | select |  | select | [5 empty] | select | required | not required
353 | 7.2.1 | Performance test : | select |  | select | [5 empty] | select | required | not required
354 |  | Sound level test : | select |  | select | [5 empty] | select | required | not required
355 |  | Functional test control system : | select |  | select | [5 empty] | select | required | not required
356 | 7.1.2 | Exhaust emission test : | select |  | select | [5 empty] | select | required | not required
357 |  | Auxiliary equipment test : | select |  | select | [5 empty] | select | required | not required
358 |  | Test with driven equipment : | select |  | select | [5 empty] | select | required | not required
359 |  | Final inspection : | select |  | select | [5 empty] | select | required | not required
360 |  | Site acceptance test : | select |  | select | [5 empty] | select | required | not required
361 |  | Certification
362 |  | Third party certification : | select |  | select | [5 empty] | select | required | not required
363 |  | Third party certification agency : | input data |  | input data
364 |  | Atmospheric emission
365 |  | Emission standards : | input data |  | input data
366 |  | Reference oxygen point : | select | % | select | % |  |  |  |  | select | 5 | 15
367 |  | Emissions reduction system : | select |  | select | [5 empty] | select | required | not required
368 |  | Emissions reduction system technology : | input data |  | input data
369 |  | Emission data (Rated Power)
370 |  | NOx limit : | input data | mg/Nm³ | input data | mg/Nm³
371 |  | NOx emitted : | input data | mg/Nm³ | input data | mg/Nm³
372 |  | CO limit : | input data | mg/Nm³ | input data | mg/Nm³
373 |  | CO emitted : | input data | mg/Nm³ | input data | mg/Nm³
374 |  | CO₂ limit : | input data | mg/Nm³ | input data | mg/Nm³
375 |  | CO₂ emitted : | input data | mg/Nm³ | input data | mg/Nm³
376 |  | SOx limit : | input data | mg/Nm³ | input data | mg/Nm³
377 |  | SOx emitted : | input data | mg/Nm³ | input data | mg/Nm³
378 |  | Un-burnt hydrocarbon (UHC) limit : | input data | mg/Nm³ | input data | mg/Nm³
379 |  | Un-burnt hydrocarbon (UHC) emitted : | input data | mg/Nm³ | input data | mg/Nm³
380 |  | Particulate matter (PM) limit : | input data | mg/Nm³ | input data | mg/Nm³
381 |  | Particulate matter (PM) emitted : | input data | mg/Nm³ | input data | mg/Nm³
382 |  | Emission data (Minimum Operating Case)
383 |  | NOx limit : | input data | mg/Nm³ | input data | mg/Nm³
384 |  | NOx emitted : | input data | mg/Nm³ | input data | mg/Nm³
385 |  | CO limit : | input data | mg/Nm³ | input data | mg/Nm³
386 |  | CO emitted : | input data | mg/Nm³ | input data | mg/Nm³
387 |  | CO₂ limit : | input data | mg/Nm³ | input data | mg/Nm³
388 |  | CO₂ emitted : | input data | mg/Nm³ | input data | mg/Nm³
389 |  | SOx limit : | input data | mg/Nm³ | input data | mg/Nm³
390 |  | SOx emitted : | input data | mg/Nm³ | input data | mg/Nm³
391 |  | Un-burnt hydrocarbon (UHC) limit : | input data | mg/Nm³ | input data | mg/Nm³
392 |  | Un-burnt hydrocarbon (UHC) emitted : | input data | mg/Nm³ | input data | mg/Nm³
393 |  | Particulate matter (PM) limit : | input data | mg/Nm³ | input data | mg/Nm³
394 |  | Particulate matter (PM) emitted : | input data | mg/Nm³ | input data | mg/Nm³
395 |  | Engine weights and dimensions
396 |  | Engine dry weight : | input data | select | input data | select |  |  |  |  | select | kg | lb
397 |  | Engine operating weight : | input data | select | input data | select |  |  |  |  | select | kg | lb
398 |  | Maintenance weight of heaviest component : | input data | select | input data | select |  |  |  |  | select | kg | lb
399 |  | Engine length : | input data | select | input data | select |  |  |  |  | select | mm | in
400 |  | Engine width : | input data | select | input data | select |  |  |  |  | select | mm | in
401 |  | Engine length : | input data | select | input data | select |  |  |  |  | select | mm | in
Note on C4: Select the stage of procurement that this data sheet is being issued.
Note on C5: The name of the company issuing the purchase order.
Note on C6: Indicate the package number or other reference number, if applicable.
Note on C7: Indicate the purchase order number.
Note on C8: Indicate purchase order date.
Note on C10: The name of the project.
Note on C11: The project number.
Note on C12: The name assigned by ISO to the country, in its 3166-1 standard.
Note on C14: Geographic location of the project within a country which will determine the applicability of local regulatory requirements.
Note on C15: The name of the company that receives the enquiry or purchase order.
Note on C17: Select CAS level to be applied in QRS, Annex A. Default value : D
Note on C19: Indicate the unique tag number for the equipment.
Note on C22: Describe the location of the facility (e.g. offshore, coastal, subsea, etc) where the equipment will be permanently installed.
Note on C23: Describe the specific plant where the equipment will be located, e.g. utilities or process unit.
Note on C25: Manufacturer of the bare engine.
Note on C37: Specify zone 1 to zone 5 based on geographical location and metocean data.
Note on C43: Atmospheric corrosivity level as defined in ISO 12944-2.
Note on C44: To indicate if the operation of the equipment will normally be attended or unattended.
Note on C45: These include services such as firewater pumps, emergency generators and emergency air compressors.
Note on C47: Maximum roll inclination angle of the floating offshore platform or FPSO in operation.
Note on C48: Maximum pitch inclination angle of the floating offshore platform or FPSO in operation.
Note on C49: Maximum yaw inclination angle of the floating offshore platform or FPSO in operation.
Note on C53: Specify the hazardous zone in which the functional or physical object is expected to operate.
Note on C54: Specify the gas group classification of the physical object in accordance with IEC 60079 or NFPA 70, 505.
Note on C55: Specify the temperature classification of the physical object in accordance with IEC 60079 or NFPA 70, 505.
Note on C57: Specify the hazardous classified location in which the functional or physical object is expected to operate.
Note on C58: Specify for purposes of testing, approval, and area classification, various air mixtures (not oxygen-enriched) grouped in accordance with NFPA 70, 500.6(A) and (B).
Note on C59: Specify the temperature classification of the physical object in accordance with NFPA 70, 500.
Note on C73: Pressure reference at package battery limit.
Note on C74: Pressure reference at package battery limit.
Note on C82: Design margin to be included.
Note on C83: Refer to ISO 15550.
Note on C85: Power rated to site conditions.
Note on C91: Refer to ISO 3046-1 for calculation of specific fuel consumption.
Note on C92: Refer to ISO 3046-1 for calculation of specific fuel consumption.
Note on C93: Refer to ISO 3046-1 for calculation of specific fuel consumption.
Note on C95: This refers to the surface temperature of the exhaust manifold.
Note on C98: Heat rejected from engine hot surfaces to atmosphere by radiation, when the engine is running at full load.
Note on C110: Default value : manual
Note on C114: Mandatory for engines located in hazardous area and IACS compliant engines with a bore of 200 mm or has a crankcase volume greater than 0.6m³. Other applications require purchaser decision.
Note on C119: This is the start-up time from successful engine firing to rated speed.
Note on C127: Switch to isolate the battery from charging or supply source.
Note on C128: Voltmeter is usually supplied for each battery bank to monitor the condition of the batteries.
Note on C135: Two pole circuit breaker will completely isolate the battery from the charger.
Note on C136: Temperature compensation is required in order to ensure the charger output is suitable for the batteries over a wide temperature range so that they are not overcharger.
Note on C175: Micron size of the particle, which the filter is able to block with the specified efficiency.
Note on C181: Select air-inlet shut-off valve to prevent overspeed due to flammable gas and for emergency shutdown.
Note on C200: Mandatory in hazardous area.
Note on C215: Micron size of the particle, which the filter is able to block with 100 % efficiency.
Note on C216: Micron size of the particle, which the filter is able to block with the specified efficiency.
Note on C222: Micron size of the particle, which the filter is able to block with 100 % efficiency.
Note on C223: Micron size of the particle, which the filter is able to block with the specified efficiency.
Note on C240: Micron size of the particle, which the filter is able to block with 100 % efficiency.
Note on C241: Micron size of the particle, which the filter is able to block with the specified efficiency.
Note on C256: This field implies whether lube oil and jacket water heater are one and the same.
Note on C263: ISO viscosity grade of lube oil.
Note on C325: This requirement is relevant for onshore installation.
Note on C348: This requirement indicates if engine test mode control logic and instruments shall be provided.
Note on C353: If a type test is acceptable evidence of engine performance, select test not required and include type test certificate in IRS.
Note on C366: All emission concentration values in the data sheet are expressed at the specified vol % O₂.

## Supplement
Row |  | S-711D Procurement Data Sheet for Diesel Engines | Issue
2 | PURCHASE ORDER SPECIFIC REQUIREMENTS
3 | Delete this sheet if not required
4
5
6
9
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93

## Guidance
S-711D Procurement Data Sheet for
Diesel Engines
Guidance on the use of this procurement data sheet
To be used in conjunction with :
IOGP S-711 Specification for Diesel Engines.
This procurement data sheet is designed to be used in MS Excel electronic format by the purchaser and the supplier.
This procurement data sheet, completed with requested values, should be delivered back to the purchaser by using the procurement data sheet template or other mutually agreed method.
Ref. Clause provides reference back to the parent standard or the supplementary specification where relevant.
Guidance specific to an item may be provided as a note in the description. This guidance is meant to provide a better understanding of the procurement data sheet item and/or an explanation of how to complete the input.
Additional notes may be used by the purchaser or supplier to provide additional information pertinent to the specification or supply of the equipment.
Issue should be used by the purchaser for revision purposes. After the first issue, for each subsequent revision of the procurement data sheet that is issued to suppliers for enquiry or purchase, the purchaser should use this column to denote that the data on a specific row has been updated since the previous revision. This enables the supplier to easily identify where changes have been made.
Default values (if applicable) have been set according to essential minimum requirements as an integral part of this specification and should only be changed where specific justification can be provided.
The Supplement worksheet is provided in an open format for application of specific items not covered in the main part of the procurement data sheet. This worksheet is not intended to modify requirements defined in the supplementary requirements specification.
Purchaser requirement and Purchaser requirement UOM specify the functional and early design requirements of the equipment. Specified requirements allow the supplier to provide an offer to the purchaser.
Supplier offered value and Supplier offered UOM are used by the supplier to declare the offered value. Where the offered product characteristic differs from the Purchaser requirement, the cell shading is automatically updated (by conditional formatting) to highlight the deviation from the Purchaser requirement.
Requirement CFIHOS ID and Equipment CFIHOS ID are prepopulated and hidden in columns K and L of the procurement data sheet worksheet. The purpose of the CFIHOS IDs is to enable information exchange in a data-centric manner.
Legend
select | Purchaser completed, drop-down list of pre-defined values (may be prepopulated with a default value)
input data | Purchaser completed data entry
select | Supplier completed, drop-down list of pre-defined values
input data | Supplier completed data entry
select | Either supplier or purchaser completed, drop-down list of predefined values (may be prepopulated with a default value)
input data | Either supplier or purchaser completed data entry
select | Selection of units from a pre-defined drop-down list
select | No input expected
input data | No input expected
UOM | Fixed unit of measure
UOM | Fixed unit of measure
No unit of measure (null)
Configuration of purchaser and supplier input columns
The following table, to be read alongside the above legend, shows the possible combinations of relationships between purchaser requirement and supplier offered values.
Purchaser requirement |  | Purchaser requirement UOM | Supplier offered value | Supplier offered UOM
select |  | select | select | select
input data |  | select | input data | select
select |  | UOM | select | UOM
input data |  | UOM | input data | UOM
select |  |  | select
input data |  |  | input data
select |  | select | select | select
input data |  | select | input data | select
select |  | UOM | select | UOM
input data |  | UOM | input data | UOM
select |  |  | select
input data |  |  | input data
select |  | select | select | select
input data |  | select | input data | select
select |  | UOM | select | UOM
input data |  | UOM | input data | UOM
select |  |  | select
input data |  |  | input data

## Back Cover
Month XXXX